## Sheet1
|  | Clean Energy (CE) Target |  |  |  | Previous Case | [13 empty] | Calculatable Clean Gen Stats |  |  |  | Future Scenario |  |  |  |  | Output Calculations
https://www.ncsl.org/research/energy/renewable-portfolio-standards.aspx
DanL will create a csv of these targets by end of day Tuesday Feb 4
|  | CE_Percentage [0, 100%] | CE_Type | Includes | Does not Include | Geothermal Gen (GWh) | Hydro Gen (GWh) | Nuclear Gen (GWh) | Solar Gen (GWh) | Wind Gen (GWh) | Externally Calculated CE_Total Gen (if any) | Previous Case's CE-eligible Gen | Geothermal Capacity (MW) | Hydro Capacity (MW) | Nuclear Capacity (MW) | Solar Capacity (MW) | Wind Capacity (MW) | NO CONGESTION Solar Capacity Factor [0,100%] | NO CONGESTION Wind Capacity Factor [0,100%] | prev_sim's Solar Capacity Factor [0,100%] | prev_sim's Wind Capacity Factor [0,100%] | prev_sim's Solar Curtailment [0,100%] | prev_sim's Wind Curtailment [0,100%] | Total Demand (GWh) (Currenly 1% growth per year relative to 2016) | Reaching Target Independently or Collaboratively | Solar Percentage of Added Capacity [0,100%] | Expected Additional Solar Curtailment [0,100%] | Expected Additional Wind Curtailment [0,100%] | CE Target Gen (MWh) | CE Shortfall | CE Overgeneration | Next Expected Solar Capacity Factor [0,100%] | Next Expected Wind Capacity Factor [0,100%] | Next Case Solar Capacity To Be Added (MW) | Next Case Wind Capacity To Be Added (MW) | Next Case Solar Capacity (MW) | Next Case Wind Capacity (MW)
System 1 | Pacific | 25% | Renewables | Geothermal, Solar, Wind | Hydro, Nuclear | 8000 | 7000 | 6000 | 8125.2 | 12648.96 |  | 28774.16 | 4000 | 3900 | 3800 | 3700 | 3600 | 25% | 40% | 25% | 40% | 0% | 0% | 200000 | Independently | 75% | 40% | 0% | 50000 | 21225.84 | 0 | 15% | 40% | 8528.5439 | 2842.848 | 12228.5439 | 6442.848 | 75%
| Atlantic | 30% | Renewables | Geothermal, Hydro, Solar, Wind | Nuclear | 8500 | 7500 | 6500 | 11067.84 | 12605.04 |  | 39672.88 | 4500 | 4400 | 4300 | 4200 | 4100 | 30% | 35% | 30% | 35% | 0% | 0% | 300000 | Independently | 50.6% | 0% | 0% | 90000 | 50327.12 | 0 | 30% | 35% | 8928.9476 | 8716.3536 | 13128.9476 | 12816.3536 | 50.6%
System 2 | Pacific | 25% | Renewables | Geothermal, Solar, Wind | Hydro, Nuclear | 8000 | 7000 | 6000 | 7000 | 11000 |  | 26000 | 4000 | 3900 | 3800 | 3700 | 3600 | 25% | 40% | 21.54% | 34.79% | 13.85% | 13.04% | 200000 | Independently | 50.68% | 0% | 0% | 50000 | 24000 | 0 | 21.54% | 34.79% | 4933.3333 | 4800 | 8633.3333 | 8400 | 50.68%
| Atlantic | 40% | Clean | Geothermal, Hydro, Nuclear, Solar, Wind |  | 8500 | 7500 | 6500 | 10500 | 11500 |  | 44500 | 4500 | 4400 | 4300 | 4200 | 4100 | 30% | 35% | 28.46% | 31.93% | 5.131% | 8.767% | 300000 | Independently | 50.6% | 0% | 0% | 120000 | 75500 | 0 | 28.46% | 31.93% | 14413.6364 | 14070.4545 | 18613.6364 | 18170.4545 | 50.6%
System 3 | Pacific | 25% | Renewables | Geothermal, Solar, Wind | Hydro, Nuclear | 8000 | 7000 | 6000 | 7000 | 11000 |  | 26000 | 4000 | 3900 | 3800 | 3700 | 3600 | 25% | 40% | 21.54% | 34.79% | 13.85% | 13.04% | 200000 | Independently | 100% | 0% | 0% | 50000 | 24000 | 0 | 21.54% | 34.79% | 12685.7143 | 0 | 16385.7143 | 3600 | 100%
| Atlantic | 40% | Clean | Geothermal, Hydro, Nuclear, Solar, Wind |  | 8500 | 7500 | 6500 | 10500 | 11500 |  | 44500 | 4500 | 4400 | 4300 | 4200 | 4100 | 30% | 35% | 28.46% | 31.93% | 5.131% | 8.767% | 300000 | Independently | 50.6% | 0% | 0% | 120000 | 75500 | 0 | 28.46% | 31.93% | 14413.6364 | 14070.4545 | 18613.6364 | 18170.4545 | 50.6%
System 4 | Pacific | 25% | Renewables | Geothermal, Solar, Wind | Hydro, Nuclear | 8000 | 7000 | 6000 | 7000 | 11000 |  | 26000 | 4000 | 3900 | 3800 | 3700 | 3600 | 25% | 40% | 21.54% | 34.79% | 13.85% | 13.04% | 200000 | Collaboratively | 50.68% |  |  | 50000 | 24000 | 0 | 21.54% | 34.79% | 10269.1771 | 9991.6318 | 13969.1771 | 13591.6318 | 50.68%
| Atlantic | 40% | Clean | Geothermal, Hydro, Nuclear, Solar, Wind |  | 8500 | 7500 | 6500 | 10500 | 11500 |  | 44500 | 4500 | 4400 | 4300 | 4200 | 4100 | 30% | 35% | 28.46% | 31.93% | 5.131% | 8.767% | 300000 | Collaboratively | 50.6% |  |  | 120000 | 75500 | 0 | 28.46% | 31.93% | 11656.9038 | 11379.3584 | 15856.9038 | 15479.3584 | 50.6%
| COLLABORATIVE |  |  |  |  | 16500 | 14500 | 12500 | 17500 | 22500 |  | 70500 | 8500 | 8300 | 8100 | 7900 | 7700 | 27.66% | 37.34% | 25.22% | 33.27% | 8.821% | 10.91% | 500000 |  | 50.64% | 7% | 13% | 170000 | 99500 | 0 | 23.45% | 28.94% | 21926.0809 | 21370.9902 | 29826.0809 | 29070.9902 | 50.64%
2.7755
System 5 | Pacific | 25% | Renewables | Geothermal, Solar, Wind | Hydro, Nuclear | 8000 | 7000 | 6000 | 8125.2 | 12648.96 |  | 28774.16 | 4000 | 3900 | 3800 | 3700 | 3600 | 25% | 40% | 25% | 40% | 0% | 0% | 200000 | Collaboratively | 50.68% |  |  | 50000 | 21225.84 | 0 | 25% | 40% | 8752.1031 | 8515.5597 | 12452.1031 | 12115.5597 | 50.68%
| Atlantic | 40% | Clean | Geothermal, Hydro, Nuclear, Solar, Wind |  | 8500 | 7500 | 6500 | 11067.84 | 12605.04 |  | 46172.88 | 4500 | 4400 | 4300 | 4200 | 4100 | 30% | 35% | 30% | 35% | 0% | 0% | 300000 | Collaboratively | 50.6% |  |  | 120000 | 73827.12 | 0 | 30% | 35% | 9934.8197 | 9698.2764 | 14134.8197 | 13798.2764 | 50.6%
| COLLABORATIVE |  |  |  |  | 16500 | 14500 | 12500 | 19193.04 | 25254 |  | 74947.04 | 8500 | 8300 | 8100 | 7900 | 7700 | 27.66% | 37.34% | 27.66% | 37.34% | 0% | 0% | 500000 |  | 50.64% | 13% | 7% | 170000 | 95052.96 | 0 | 24.06% | 34.72% | 18686.9228 | 18213.8361 | 26586.9228 | 25913.8361 | 50.64%
2.3654
Inputs from External Sources
Inputs from Previous Simulation
Calculations internal to these objects
Test cases needed | [10 empty] | Outputs of interest
Collaborative with curtailment (revisit old code - any tweaks?)
HARD CODED TEST CASES BELOW! DO NOT CHANGE!!!
Test 1 | Pacific | 25% | Renewables | Geothermal, Solar, Wind | Hydro, Nuclear | 8000 | 7000 | 6000 | 8125.2 | 12648.96 |  | 28774.16 | 4000 | 3900 | 3800 | 3700 | 3600 | 25% | 40% | 25% | 40% | 0% | 0% | 200000 | Independently | 50.68% | 40% | 0% | 50000 | 21225.84 | 0 | 15% | 40% | 4481.5824 | 4360.4585 | 8181.5824 | 7960.4585 | 50.68%
Test 1: the base functions along with Additional Solar Curtailment
Test 2 | Atlantic | 30% | Renewables | Geothermal, Hydro, Solar, Wind | Nuclear | 8500 | 7500 | 6500 | 11067.84 | 12605.04 |  | 39672.88 | 4500 | 4400 | 4300 | 4200 | 4100 | 30% | 35% | 30% | 35% | 0% | 0% | 300000 | Independently | 50.6% | 0% | 0% | 90000 | 50327.12 | 0 | 30% | 35% | 8928.9476 | 8716.3536 | 13128.9476 | 12816.3536 | 50.6%
Test 2: Base functions and change in types of allowed clean energy
Test 3 | Pacific | 25% | Renewables | Geothermal, Solar, Wind | Hydro, Nuclear | 8000 | 7000 | 6000 | 7000 | 11000 |  | 26000 | 4000 | 3900 | 3800 | 3700 | 3600 | 25% | 40% | 21.54% | 34.79% | 13.85% | 13.04% | 200000 | Independently | 50.68% | 0% | 0% | 50000 | 24000 | 0 | 21.54% | 34.79% | 4933.3333 | 4800 | 8633.3333 | 8400 | 50.68%
Test 3: Curtailed wind and solar
Test 4 | Atlantic | 40% | Clean | Geothermal, Hydro, Nuclear, Solar, Wind |  | 8500 | 7500 | 6500 | 10500 | 11500 |  | 44500 | 4500 | 4400 | 4300 | 4200 | 4100 | 30% | 35% | 28.46% | 31.93% | 5.131% | 8.767% | 300000 | Independently | 50.6% | 0% | 0% | 120000 | 75500 | 0 | 28.46% | 31.93% | 14413.6364 | 14070.4545 | 18613.6364 | 18170.4545 | 50.6%
Test 4: Clean energy and curtailed wind and solar
Test 5 | Pacific | 25% | Renewables | Geothermal, Solar, Wind | Hydro, Nuclear | 8000 | 7000 | 6000 | 7000 | 11000 |  | 26000 | 4000 | 3900 | 3800 | 3700 | 3600 | 25% | 40% | 21.54% | 34.79% | 13.85% | 13.04% | 200000 | Collaboratively | 50.68% | 0% | 0% | 50000 | 24000 | 0 | 21.54% | 34.79% | 9203.75 | 8955 | 12903.75 | 12555 | 50.68%
| Atlantic | 40% | Clean | Geothermal, Hydro, Nuclear, Solar, Wind |  | 8500 | 7500 | 6500 | 10500 | 11500 |  | 44500 | 4500 | 4400 | 4300 | 4200 | 4100 | 30% | 35% | 28.46% | 31.93% | 5.131% | 8.767% | 300000 | Collaboratively | 50.6% | 0% | 0% | 120000 | 75500 | 0 | 28.46% | 31.93% | 10447.5 | 10198.75 | 14647.5 | 14298.75 | 50.6%
| COLLABORATIVE |  |  |  |  | 16500 | 14500 | 12500 | 17500 | 22500 |  | 70500 | 8500 | 8300 | 8100 | 7900 | 7700 | 27.66% | 37.34% | 25.22% | 33.27% | 8.821% | 10.91% | 500000 |  | 50.64% |  |  | 170000 | 99500 | 0 | 25.22% | 33.27% | 19651.25 | 19153.75 | 27551.25 | 26853.75 | 50.64%
Test 6 | Pacific | 25% | Renewables | Geothermal, Solar, Wind | Hydro, Nuclear | 8000 | 7000 | 6000 | 7000 | 11000 | 40000 | 40000 | 4000 | 3900 | 3800 | 3700 | 3600 | 25% | 40% | 21.54% | 34.79% | 13.85% | 13.04% | 200000 | Independently | 50.68% | 0% | 0% | 50000 | 10000 | 0 | 21.54% | 34.79% | 2055.5556 | 2000 | 5755.5556 | 5600 | 50.68%
Test 6: Externally Calculated CE target
Test 7 | Pacific | 25% | Renewables | Geothermal, Solar, Wind | Hydro, Nuclear | 8000 | 7000 | 6000 | 7000 | 11000 |  | 26000 | 4000 | 3900 | 3800 | 3700 | 3600 | 25% | 40% | 21.54% | 34.79% | 13.85% | 13.04% | 200000 | Independently | 0% | 0% | 0% | 50000 | 24000 | 0 | 21.54% | 34.79% | 0 | 7854.5455 | 3700 | 11454.5455 | 0%
Test 7: Meet goals with only wind
Test 8 | Pacific | 25% | Renewables | Geothermal, Solar, Wind | Hydro, Nuclear | 8000 | 7000 | 6000 | 7000 | 11000 |  | 26000 | 4000 | 3900 | 3800 | 3700 | 3600 | 25% | 40% | 21.54% | 34.79% | 13.85% | 13.04% | 200000 | Independently | 75% | 0% | 0% | 50000 | 24000 | 0 | 21.54% | 34.79% | 8246.2597 | 2748.7532 | 11946.2597 | 6348.7532 | 75%
Test 8: Meet goals with 75% capacity as solar
Test 9 | Pacific | 25% | Renewables | Geothermal, Solar, Wind | Hydro, Nuclear | 8000 | 7000 | 6000 | 7000 | 11000 |  | 26000 | 4000 | 3900 | 3800 | 3700 | 3600 | 25% | 40% | 21.54% | 34.79% | 13.85% | 13.04% | 200000 | Independently | 100% | 0% | 0% | 50000 | 24000 | 0 | 21.54% | 34.79% | 12685.7143 | 0 | 16385.7143 | 3600 | 100%
Test 9: Meet goals with only solar
Test 10 | Pacific | 25% | Renewables | Geothermal, Solar, Wind | Hydro, Nuclear | 8000 | 7000 | 6000 | 7000 | 11000 |  | 26000 | 4000 | 3900 | 3800 | 3700 | 3600 | 25% | 40% | 21.54% | 34.79% | 13.85% | 13.04% | 200000 | Independently | 75% | 0% | 15% | 50000 | 24000 | 0 | 21.54% | 29.57% | 8703.1172 | 2901.0391 | 12403.1172 | 6501.0391 | 75%
Test 10: Explicitly including wind curtailment in the test of 75% added capacity as solar